## Project NS - Colusa
OPERATING DETAILS ($000's)
Project Name | NS - Colusa
Name Plate (DC) | 574
Sites | 1
Development Costs |  |  | % | $/W | Dev Cost
BOP |  |  | 81.28% | 2.795 | 1604.33 |  | Total Cost per Wp | 3.4387
Roof Work |  | MW | 13.96% | 0.48 | 275.52 |  | Total Returns | 13.47%
Contingency |  |  | 4.762% | 0.16375 | 93.9925
Interconnection/Telemetry Costs |  |  | 0% | 0
LED Project
Investments |  |  | 100% | 3.4387 | -1973.8425
Total Assets |  |  |  | 3.4387 | 1973.8425
Total Depreciable Assets |  |  |  | Yield | 1677.7661
Total Grant |  |  |  | 98% | 580.3097
Residual Assumed
| Total kW | Escl. | Total | kWh/kWp | Backside Boost |  |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35
Electricity Produced (kWhr/yr) | 574 | -0.5% | 29871318.75 | 1625 | 0% |  |  |  |  | 932750 | 928086.25 | 923422.5 | 918758.75 | 914095 | 909431.25 | 904767.5 | 900103.75 | 895440 | 890776.25 | 886112.5 | 881448.75 | 876785 | 872121.25 | 867457.5 | 862793.75 | 858130 | 853466.25 | 848802.5 | 844138.75 | 839475 | 834811.25 | 830147.5 | 825483.75 | 820820 | 816156.25 | 811492.5 | 806828.75 | 802165 | 797501.25 | 792837.5 | 788173.75 | 783510 | 778846.25 | 774182.5
Production Factor Post Degradation | [9 empty] | 100% | 99.5% | 99% | 98.5% | 98% | 97.5% | 97% | 96.5% | 96% | 95.5% | 95% | 94.5% | 94% | 93.5% | 93% | 92.5% | 92% | 91.5% | 91% | 90.5% | 90% | 89.5% | 89% | 88.5% | 88% | 87.5% | 87% | 86.5% | 86% | 85.5% | 85% | 84.5% | 84% | 83.5% | 83%
Sensitivity (Uptime) | 99% | [8 empty] | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99% | 99%
Total Production | [9 empty] | 923422.5 | 918805.3875 | 914188.275 | 909571.1625 | 904954.05 | 900336.9375 | 895719.825 | 891102.7125 | 886485.6 | 881868.4875 | 877251.375 | 872634.2625 | 868017.15 | 863400.0375 | 858782.925 | 854165.8125 | 849548.7 | 844931.5875 | 840314.475 | 835697.3625 | 831080.25 | 826463.1375 | 821846.025 | 817228.9125 | 812611.8 | 807994.6875 | 803377.575 | 798760.4625 | 794143.35 | 789526.2375 | 784909.125 | 780292.0125 | 775674.9 | 771057.7875 | 766440.675
PPA | Price (Base) | Discount (Incl) | Escl. | [6 empty] | 3% | 1.893% | 5.473% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3%
PPA Price ($/MWh) | 0.2038 | 10% | 3% | [6 empty] | 0.18342 | 0.18689 | 0.19712 | 0.20791 | 0.21415 | 0.22057 | 0.22719 | 0.234 | 0.24102 | 0.24826 | 0.2557 | 0.26337 | 0.27128 | 0.27941 | 0.2878 | 0.29643 | 0.30532 | 0.31448 | 0.32392 | 0.33363 | 0.34364 | 0.35395 | 0.36457 | 0.37551 | 0.38677 | 0.39838 | 0.41033 | 0.42264 | 0.43532 | 0.44838 | 0.46183 | 0.47568 | 0.48995 | 0.50465 | 0.51979
REC Price ($/MWh) | 0 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Revenue |  |  |  |  | Average | Total |  |  | 2: Actual; 3: Actual
Power Revenue |  |  |  |  | 272.6771 | 9543.6996 |  |  |  | 169.3742 | 171.7177 | 180.206 | 189.109 | 193.7935 | 198.5889 | 203.4976 | 208.5221 | 213.6649 | 218.9287 | 224.3159 | 229.8294 | 235.4717 | 241.2458 | 247.1544 | 253.2004 | 259.3867 | 265.7163 | 272.1922 | 278.8175 | 285.5954 | 292.529 | 299.6216 | 306.8765 | 314.297 | 321.8866 | 329.6487 | 337.5868 | 345.7045 | 354.0054 | 362.4932 | 371.1717 | 380.0447 | 389.116 | 398.3896
REC Sales |  |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Revenue |  |  |  |  | 272.6771 | 9543.6996 |  |  |  | 169.3742 | 171.7177 | 180.206 | 189.109 | 193.7935 | 198.5889 | 203.4976 | 208.5221 | 213.6649 | 218.9287 | 224.3159 | 229.8294 | 235.4717 | 241.2458 | 247.1544 | 253.2004 | 259.3867 | 265.7163 | 272.1922 | 278.8175 | 285.5954 | 292.529 | 299.6216 | 306.8765 | 314.297 | 321.8866 | 329.6487 | 337.5868 | 345.7045 | 354.0054 | 362.4932 | 371.1717 | 380.0447 | 389.116 | 398.3896
Costs | Cost (1-3) | Escl.
O&M Costs (k$'s/yr/MW) | 20 | 2% |  |  | -16.3982 | -573.9366 |  |  |  | -11.48 | -11.7096 | -11.9438 | -12.1827 | -12.4263 | -12.6748 | -12.9283 | -13.1869 | -13.4506 | -13.7197 | -13.9941 | -14.2739 | -14.5594 | -14.8506 | -15.1476 | -15.4506 | -15.7596 | -16.0748 | -16.3963 | -16.7242 | -17.0587 | -17.3998 | -17.7478 | -18.1028 | -18.4649 | -18.8342 | -19.2108 | -19.5951 | -19.987 | -20.3867 | -20.7944 | -21.2103 | -21.6345 | -22.0672 | -22.5086
Replacement Costs (k$'s/yr/MW) | 5 | 2% |  |  | -4.0995 | -143.4842 |  |  |  | -2.87 | -2.9274 | -2.9859 | -3.0457 | -3.1066 | -3.1687 | -3.2321 | -3.2967 | -3.3627 | -3.4299 | -3.4985 | -3.5685 | -3.6399 | -3.7127 | -3.7869 | -3.8626 | -3.9399 | -4.0187 | -4.0991 | -4.181 | -4.2647 | -4.35 | -4.437 | -4.5257 | -4.6162 | -4.7085 | -4.8027 | -4.8988 | -4.9967 | -5.0967 | -5.1986 | -5.3026 | -5.4086 | -5.5168 | -5.6271
Management Fee (k$'s/yr) | 1 | 2% |  |  | -1.4284 | -49.9945 |  |  |  | -1 | -1.02 | -1.0404 | -1.0612 | -1.0824 | -1.1041 | -1.1262 | -1.1487 | -1.1717 | -1.1951 | -1.219 | -1.2434 | -1.2682 | -1.2936 | -1.3195 | -1.3459 | -1.3728 | -1.4002 | -1.4282 | -1.4568 | -1.4859 | -1.5157 | -1.546 | -1.5769 | -1.6084 | -1.6406 | -1.6734 | -1.7069 | -1.741 | -1.7758 | -1.8114 | -1.8476 | -1.8845 | -1.9222 | -1.9607
Lease Costs (k$'s/yr/MW) | 0 | 0% |  |  | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WREGIS (k$'s/yr/MW) | 0.1 | 2% |  |  | -0.1 | -3.5 |  |  |  | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1 | -0.1
Gross Receipt Tax (k$'s/yr/MW) | 0.8 | 2% |  |  | -0.8 | -28 |  |  |  | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8 | -0.8
M. Tax | 0% | 0% |  |  | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bad Debt | 0% |  |  |  | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Insurance Costs G, C & L (% of Capex) | 0.2% |  |  |  | -3.7597 | -131.5895 |  |  |  | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597 | -3.7597
Total Costs |  |  |  |  | -26.5858 | -930.5047 |  |  |  | -20.0097 | -20.3167 | -20.6298 | -20.9492 | -21.275 | -21.6073 | -21.9463 | -22.292 | -22.6447 | -23.0044 | -23.3713 | -23.7455 | -24.1272 | -24.5166 | -24.9137 | -25.3188 | -25.732 | -26.1534 | -26.5833 | -27.0218 | -27.469 | -27.9252 | -28.3905 | -28.8651 | -29.3492 | -29.843 | -30.3467 | -30.8604 | -31.3844 | -31.9189 | -32.4641 | -33.0202 | -33.5874 | -34.166 | -34.7561
[7 empty] | Revenue/EBITDA | EBITDA/Cost
EBITDA |  |  |  |  | 246.0913 | 8613.1948 | 1.108 | 4.3637 |  | 149.3645 | 151.401 | 159.5761 | 168.1597 | 172.5185 | 176.9816 | 181.5513 | 186.2301 | 191.0203 | 195.9243 | 200.9446 | 206.0839 | 211.3445 | 216.7292 | 222.2407 | 227.8816 | 233.6547 | 239.5629 | 245.6089 | 251.7958 | 258.1264 | 264.6039 | 271.2312 | 278.0114 | 284.9478 | 292.0436 | 299.302 | 306.7264 | 314.32 | 322.0865 | 330.0291 | 338.1516 | 346.4573 | 354.9501 | 363.6335
Op Margin | [9 empty] | 88.19% | 88.17% | 88.55% | 88.92% | 89.02% | 89.12% | 89.22% | 89.31% | 89.4% | 89.49% | 89.58% | 89.67% | 89.75% | 89.84% | 89.92% | 90% | 90.08% | 90.16% | 90.23% | 90.31% | 90.38% | 90.45% | 90.52% | 90.59% | 90.66% | 90.73% | 90.79% | 90.86% | 90.92% | 90.98% | 91.04% | 91.1% | 91.16% | 91.22% | 91.28%
Depn Percentage | Bonus Dep? (Yes/NO) | Yes | [7 empty] | 60% | 16% | 9.6% | 5.76% | 5.76% | 2.88% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total Depreciation |  |  |  |  | 167.7766 | 1677.7661 |  |  | 1: 1006.6597; 2: 268.4426; 3: 161.0655; 4: 96.6393; 5: 96.6393; 6: 48.3197; 7: 0; 8: 0; 9: 0; 10: 0
EBT |  |  |  |  | 198.1551 | 6935.4287 |  |  |  | -857.2952 | -117.0416 | -1.4894 | 71.5204 | 75.8791 | 128.6619 | 181.5513 | 186.2301 | 191.0203 | 195.9243 | 200.9446 | 206.0839 | 211.3445 | 216.7292 | 222.2407 | 227.8816 | 233.6547 | 239.5629 | 245.6089 | 251.7958 | 258.1264 | 264.6039 | 271.2312 | 278.0114 | 284.9478 | 292.0436 | 299.302 | 306.7264 | 314.32 | 322.0865 | 330.0291 | 338.1516 | 346.4573 | 354.9501 | 363.6335
Tax Rate
Income Tax Benefits (Tax Equity) |  | 35% | [7 empty] | 300.0533 | 40.9645 | 0.5213 | -25.0321 | -26.5577 | -45.0317 | -63.543 | -65.1805 | -66.8571 | -68.5735 | -70.3306 | -72.1294 | -73.9706 | -75.8552 | -77.7842 | -79.7586 | -81.7791 | -83.847 | -85.9631 | -88.1285 | -90.3442 | -92.6114 | -94.9309 | -97.304 | -99.7317 | -102.2153 | -104.7557 | -107.3542 | -110.012 | -112.7303 | -115.5102 | -118.353 | -121.2601 | -124.2325 | -127.2717
EAT | [9 empty] | -557.2419 | -76.077 | -0.96813 | 46.4883 | 49.3214 | 83.6302 | 118.0084 | 121.0496 | 124.1632 | 127.3508 | 130.614 | 133.9545 | 137.3739 | 140.874 | 144.4564 | 148.123 | 151.8756 | 155.7159 | 159.6458 | 163.6673 | 167.7822 | 171.9925 | 176.3003 | 180.7074 | 185.2161 | 189.8283 | 194.5463 | 199.3721 | 204.308 | 209.3562 | 214.5189 | 219.7985 | 225.1973 | 230.7175 | 236.3618
[9 empty] | 2013-12-01 | 2014-06-30 | 2015-06-30 | 2016-06-29 | 2017-06-29 | 2018-06-29 | 2019-06-29 | 2020-06-28 | 2021-06-28 | 2022-06-28 | 2023-06-28 | 2024-06-27 | 2025-06-27 | 2026-06-27 | 2027-06-27 | 2028-06-26 | 2029-06-26 | 2030-06-26 | 2031-06-26 | 2032-06-25 | 2033-06-25 | 2034-06-25 | 2035-06-25 | 2036-06-24 | 2037-06-24 | 2038-06-24 | 2039-06-24 | 2040-06-23 | 2041-06-23 | 2042-06-23 | 2043-06-23 | 2044-06-22 | 2045-06-22 | 2046-06-22 | 2047-06-22 | 2048-06-21
FCF BT | [9 empty] | 149.3645 | 151.401 | 159.5761 | 168.1597 | 172.5185 | 176.9816 | 181.5513 | 186.2301 | 191.0203 | 195.9243 | 200.9446 | 206.0839 | 211.3445 | 216.7292 | 222.2407 | 227.8816 | 233.6547 | 239.5629 | 245.6089 | 251.7958 | 258.1264 | 264.6039 | 271.2312 | 278.0114 | 284.9478 | 292.0436 | 299.302 | 306.7264 | 314.32 | 322.0865 | 330.0291 | 338.1516 | 346.4573 | 354.9501 | 363.6335
Investment | [8 empty] | 2013-12-01: -1973.8425
ITC | [8 empty] | 2014-06-30: 580.3097
Tax | [9 empty] | 300.0533 | 40.9645 | 0.5213 | -25.0321 | -26.5577 | -45.0317 | -63.543 | -65.1805 | -66.8571 | -68.5735 | -70.3306 | -72.1294 | -73.9706 | -75.8552 | -77.7842 | -79.7586 | -81.7791 | -83.847 | -85.9631 | -88.1285 | -90.3442 | -92.6114 | -94.9309 | -97.304 | -99.7317 | -102.2153 | -104.7557 | -107.3542 | -110.012 | -112.7303 | -115.5102 | -118.353 | -121.2601 | -124.2325 | -127.2717
Residual
Total Cash flows | [8 empty] | -1973.8425 | 1029.7275 | 192.3656 | 160.0974 | 143.1276 | 145.9608 | 131.9499 | 118.0084 | 121.0496 | 124.1632 | 127.3508 | 130.614 | 133.9545 | 137.3739 | 140.874 | 144.4564 | 148.123 | 151.8756 | 155.7159 | 159.6458 | 163.6673 | 167.7822 | 171.9925 | 176.3003 | 180.7074 | 185.2161 | 189.8283 | 194.5463 | 199.3721 | 204.308 | 209.3562 | 214.5189 | 219.7985 | 225.1973 | 230.7175 | 236.3618
Implied Purchase IRR | [7 empty] | 13.47%
Debt Leverage
Term Loan
|  |  |  | Debt Margin | 6.35%
|  |  |  | Principle | 1200
|  |  |  | Term(Sizing) | 15
|  |  |  | Reserves | 41.6039
Loan Year | [8 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35
Beginning Balance | [8 empty] | 0 | 1200 | 1167.9 | 1132.2 | 1091.4 | 1044.9 | 992.1 | 932.7 | 866.4 | 792 | 709.5 | 618 | 509.1324 | 393.3517 | 270.2189 | 139.2672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Draw | [8 empty] | 1: 1200
Principle Payment | [9 empty] | -32.1 | -35.7 | -40.8 | -46.5 | -52.8 | -59.4 | -66.3 | -74.4 | -82.5 | -91.5 | -108.8676 | -115.7807 | -123.1328 | -130.9517 | -139.2672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
End Balance | [8 empty] | 1200 | 1167.9 | 1132.2 | 1091.4 | 1044.9 | 992.1 | 932.7 | 866.4 | 792 | 709.5 | 618 | 509.1324 | 393.3517 | 270.2189 | 139.2672 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest | [9 empty] | -75.1808 | -73.0282 | -70.5993 | -67.8275 | -64.6748 | -61.1124 | -57.1214 | -52.6542 | -47.6726 | -42.1481 | -35.7865 | -28.6539 | -21.0684 | -13.0012 | -4.4217 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reserves | [8 empty] | -41.6039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.6039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment | [8 empty] | 1: -815.4464
Cash | [9 empty] | 42.0836 | 42.6728 | 48.1768 | 53.8322 | 55.0437 | 56.4692 | 58.1299 | 59.1759 | 60.8476 | 62.2762 | 56.2906 | 61.6493 | 67.1434 | 72.7763 | 120.1557 | 227.8816 | 233.6547 | 239.5629 | 245.6089 | 251.7958 | 258.1264 | 264.6039 | 271.2312 | 278.0114 | 284.9478 | 292.0436 | 299.302 | 306.7264 | 314.32 | 322.0865 | 330.0291 | 338.1516 | 346.4573 | 354.9501 | 363.6335
Tax | [9 empty] | 326.3666 | 66.5244 | 25.2311 | -1.2925 | -3.9215 | -23.6423 | -43.5505 | -46.7516 | -50.1717 | -53.8217 | -57.8054 | -62.1005 | -66.5967 | -71.3048 | -76.2366 | -79.7586 | -81.7791 | -83.847 | -85.9631 | -88.1285 | -90.3442 | -92.6114 | -94.9309 | -97.304 | -99.7317 | -102.2153 | -104.7557 | -107.3542 | -110.012 | -112.7303 | -115.5102 | -118.353 | -121.2601 | -124.2325 | -127.2717
ITC | [8 empty] | 2: 580.3097
Total Levered Cash Flows | [8 empty] | -815.4464 | 948.7599 | 109.1972 | 73.4079 | 52.5397 | 51.1222 | 32.8268 | 14.5794 | 12.4243 | 10.676 | 8.4545 | -1.5148 | -0.45122 | 0.54671 | 1.4715 | 43.9191 | 148.123 | 151.8756 | 155.7159 | 159.6458 | 163.6673 | 167.7822 | 171.9925 | 176.3003 | 180.7074 | 185.2161 | 189.8283 | 194.5463 | 199.3721 | 204.308 | 209.3562 | 214.5189 | 219.7985 | 225.1973 | 230.7175 | 236.3618